Environmental Impact Assessment of CCS: General overview
Abstract

World primary energy supply is, still, strongly dependent on fossil fuels and combustion. The contribution of renewable sources of energy in the energy mix is continuously increasing, under strong technological development and wide geographical dissemination; however, energy demand in the world is increasing faster due to population growth and upgrading living conditions expectations. According to the majority of world outlook reports fossil fuels are expected to continue to secure the majority of the world primary energy supply. Fossil fuels combustion is responsible for large amounts of CO2 and other greenhouse gases emissions. CO2 capture and underground storage (CCS) technologies are considered to represent an effective mean to dramatically reduce CO2 emissions from large stationary sources such as power plants and other strongly dependent fossil fuel industries (cement and steel manufacturers). However, as all kind of technology or even human intervention in nature, CCS processes may involve undesirable effects on the environment. Implementation of CCS projects and activities regarding storage of CO2 quantities above 105 ton are regulated by the CCS Directive 2009/31/EC and also by the EIA Directive 2011/92/EU. The latter replaces the former EIA Directive 85/337/EEC specifically amended in 2009 to cover capture and transport of CO2 streams for the purposes of geological storage as well as storage sites.

This paper does a general overview of the EIA of the CCS technologies, with a particular focus over legal framework and the possible environmental impacts on CO2 storage sites, considering two reservoirs types: abandoned or unmineable coal seams and deep saline aquifers.
Introduction
World Energy demand and supply
Presently the model of primary energy supply is based on fossil fuels accounting of more than 80% of total primary energy consumed in the world as presented in Figure 1. 

[image: image1.png]



Figure 1. – Primary energy supply in 2010, representing the principal primary energy sources and four levels of consumption: world, OECD, European Union and Portugal. “Renewables” includes: biomass, wind, hydropower, geothermic energy, solar energy, wave and tide energy but also waste combustion. Sources of data: for Portugal from DGEG (DGEG - Direcção Geral de Energia e Geologia, 2011a) and Eurostat 
 ADDIN EN.CITE 

(Eurostat - Statistical Office of the European Communities, 2011; Eurostat - Statistical Office of the European Communities, 2012a)
; for European Union from Eurostat (already mentioned databases), for OECD and the world, data from IEA 
 ADDIN EN.CITE 

(IEA - International Energy Agency, 2011c; IEA - International Energy Agency, 2011d)
, from OECD (OECD, 2011) and EIA/ DOE (EIA - Energy Information Administration, 2011).
Driven by global population growth and people legitimate expectations on improving health and living conditions, the world energy demand is in constant growth, and yet, energy does not constitute a commodity accessible to everybody, especially in undeveloped countries. Technologies using renewable energy have experimented a great progress in the last decades, however, energy consumption is increasing faster than growing population and especially in developed countries, per capita energy consumption is affected by rising dependency on electric and electronic devices. In some undeveloped countries, implementation of the latest technologies to transform energy is restricted, mainly by economic reasons, and the use and transformation of energy is achieved by traditional, low efficient and even sometimes, obsolete production methods. Conventional burning of fossil fuels is a long term known and widely disseminated use of energy and still today, consists of the cheapest way to obtaining energy providing for basic and essential needs and also for important industries for countries’ economies such as cement and steel manufacturers.
GHG concentration in atmosphere and CCS
The continuous growth of world energy consumption has been pressuring the environment, specifically in what concerns the emission of pollutants into the atmosphere, mainly substances with greenhouse effect. Carbon dioxide (CO2) is a greenhouse gas (GHG) whose production and release is inherently associated to combustion of fossil fuels. Since the 20th century (especially the 2nd half), the emission of CO2 from fossil fuels combustion has increased extraordinarily. 
Carbon Capture and Storage (CCS) comprises several technologies that aim to reduce or prevent the release of CO2 resulting from industrial processes to the atmosphere. These include:
· Capturing of CO2 from gaseous effluents: separation of CO2 from other flue gases, compression for volume reduction and fluid accommodation;
· Transport of compressed CO2 through pipeline, by shipment or by truck, from production unit to the storage site;
· Injection of CO2 for underground storage (within several possibilities: depleted hydrocarbons reservoirs, abandoned or unmineable coal seams and deep saline aquifers).
At the current state of the art, CCS technologies can only capture GHG emissions from stationary sources, which nevertheless represent a considerable amount of the total CO2 emissions. 
CCS legal framework
Implementation of CCS projects and activities regarding storage of CO2 quantities above 105 ton (one hundred thousand tonnes) are regulated by the CCS Directive 2009/31/EC and also by the EIA Directive 2011/92/EU. The latter codified the former EIA Directive 85/337/EEC that was specifically amended in 2009 to cover capture and transport of CO2 streams for the purposes of geological storage as well as storage sites pursuant to CCS Directive 2009/31/EC. Thus, Directive 2009/31/EC amended the Annexes I and II of the EIA Directive, by adding projects related to the transport, capture and storage of carbon dioxide (CO2). All projects referred in this list are considered mandatory for Environmental Impact Assessment.

In Table I can be found a Life cycle of a CCS project and related activities considering the obligations settled in the CCS Directive and in the EIA Directive.
Table I. Life cycle of a CCS project and related activities considering the obligations settled in the CCS Directive and in the EIA Directive
	CCS Project / activity phase
	CCS Directive (2009/31/EC)
	EIA Directive (2011/92/EU)

	Phase 0
Screening criteria for site selection
Planning
Project feasibility evaluation
Local storage risks assessment
	Detailed project description
Complete geographic and geological characterisation of selected site and surrounding area including risks assessment
Storage complex characterization

	
	Explorations permits request
Development of site specific monitoring, control and corrective measures plan 
Application for storage permit
Requires: EIA full report submitted and approval
	Environment Impact assessment procedure

	Phase 1
Construction and substructures for site testing and operation
	Site specific monitoring, control and corrective measures plan
	Monitoring of significant effects on the environment and effectiveness of the control measures

	Phase 2
Testing: CO2 Injection tests
	
	

	Phase 3
Operation: CO2 storage at commercial scale
	
	

	Phase 4
Deactivation: site closure and decommissioning
	
	


Pursuant to CCS Directive 2009/31/EC, a geological formation will only be selected as a storage site, if under the proposed conditions of use there is no significant risk of leakage, and if no significant environmental or health risks exist.
The characterisation and assessment of the potential storage complex and surrounding area will be carried out in three steps according to best practices at the time of the assessment and to the following criteria:
Step 1:
Data collection, which includes data to construct a volumetric and three-dimensional static (3-D)-earth model for the storage site and storage complex, including the caprock, and the surrounding area, including the hydraulically connected areas. 
Step 2:
Building the three-dimensional static geological earth model using the data collected in Step 1. The uncertainty associated with each of the parameters used to build the model will be assessed by developing a range of scenarios for each parameter and calculating the appropriate confidence limits. Any uncertainty associated with the model itself will also be assessed.
Step 3:
Characterisation of the storage dynamic behaviour, sensitivity characterisation, risk assessment. The characterisations and assessment will be based on dynamic modelling, comprising a variety of time-step simulations of CO2 injection into the storage site using the three-dimensional static geological earth model(s) in the computerised storage complex simulator constructed under Step 2.
Multiple simulations will be undertaken to identify the sensitivity of the assessment to assumptions made about particular parameters. Any significant sensitivity will be taken into account in the risk assessment. The risk assessment will comprise, inter alia, the hazard characterisation, the exposure assessment, the effects assessment and the risk characterization.
Still according to CCS Directive, a monitoring plan will be establishing and updating. Directive monitoring requirements, such as detecting migration of CO2; detecting leakage of CO2;  detecting significant adverse effects for the surrounding environment, including in particular on drinking water, for human populations, or for users of the surrounding biosphere; assessing the effectiveness of any corrective measures; updating the assessment of the safety and integrity of the storage complex in the short and long term, including the assessment of whether the stored CO2 will be completely and permanently contained.
The monitoring plan will provide details of the monitoring to be deployed at the main stages of the project, including baseline, operational and post-closure monitoring. 
Environmental impact assessment of CCS
To achieve an Environmental Impact Assessment of a CCS project, the entire life cycle of the projected unit has to be evaluated concerning, not only the environmental issues, but also the social and economic effects of the project and risk assessment. Thus, the objective of the EIA is to identify the possible origins of problems, to propose alternatives and to define measures in order to avoid, reduce and, if possible, remedy significant adverse effects.
As mentioned before, a CCS project consists of the capture of carbon dioxide (CO2) from industrial installations, its transport to a storage site and its injection into a suitable underground geological formation for the purposes of permanent storage. It includes traffic of heavy duty trucks and hard machinery work in situ (as for drilling) or on the surroundings (as for sampling and monitoring). This type of hard technologic projects may have impacts on:
· Human Health and Safety
· Biodiversity
· Air (including GHG emissions)
· Water (groundwater and surface water)
· Geology (soils and underground space)
· Waste (including construction debris)
· Noise
· Socioeconomic impact
CCS units, considering the injection and storage phases, can have specific risks. In Table II can be found specific risks associated to the storage in CCS units.
Table II. Specific risks associated to the storage in CCS units
	Specific risk
	Probability of event occurrence
	Potential impact of the event
	Risk level

	Overpressure in the reservoir due to CO2 injection and storage
	Very low
	Definite or temporary lack of capacity of the reservoir; 
Impossibility of further injection of CO2 in the site;
Closure of the CCS unit;
Selection of other CCS unit or inactivity.
	Low

	Migration of CO2 into neighbour geologic formations
	Very high
	Reactive processes with neighbour geologic formations;
Risk of CO2 entry into the caprock;
Risk of leakage from the storage site.
	Low

	Migration of CO2 into neighbour aquifers
	Low
	Dissolution of CO2 into the water;
Reaction of CO2 with other water minerals;
Eventual acidification of the water;
Adverse effects for the surrounding environment, including in particular on drinking water, for human populations, or for users of the surrounding biosphere.
	High

	Leakage of CO2 into the atmosphere
	Very low
	Air quality degradation; potential adverse effects over the surrounding environment, including human populations and biosphere;
GHG emissions.
	High


Discussion
The environmental impact is highly dependent on the characteristics of underground geological formation for the purposes of permanent storage of the CO2, partly due to overpressure issues of the reservoir and lithologies adjacent to the storage reservoir.
During injection of CO2 the real pressure inside the reservoir has to be continuously monitored to prevent localised overpressure. Control of CO2 pressure and flow is particularly important at the injection phase, because the CO2 injection flow (injectivity) must match the permeability of the reservoir to avoid local accumulation of fluid and eventual overpressure. 
Coal has the ability to swallow with pressure and the CO2 injected into coal seams is chemically adsorbed, remaining adherent to the walls of the coal pores in a coalescent supercritical state.
CO2 stored in saline aquifers is absorbed and dissolved in the saline water, and also, eventually, part of the injected amount may have reacted with other dissolved minerals in the aquifer.
The capacity of each reservoir has to be estimated using reservoir modelling and then calculated using the experimental results of injection tests. Starting at injection and mainly during storing phase, it is expected that CO2 is circulating all over the reservoir, including other permeable lithologies adjacent to the storage reservoir, tending towards equilibrium. However, it is imperative that the lithology on the reservoir top (the cap rock) must be impermeable to CO2, though preventing CO2 migration in ascending direction and eventual reach to the surface. If such an event occurs, resulting from natural migration pathways, such as existing boreholes, recent faults or even outcropping permeable formations, the upward CO2 has to find its way up passing through several layers of (probably different) lithologies with also different permeabilities. An eventual leakage from underground is a slow process that may last for decades or even centuries, depending on the diffusion capacity of the CO2 through the geologic formations above the reservoir layer, until the CO2 finally reach the surface. The magnitude of an eventual underground leakage may be predicted by the required three-dimensional dynamic geological model of the reservoir formation and the neighbours’ lithologies. Phase 2 of a CCS project – CO2 injection tests must provide results to quantify the extension of a possible underground leakage. On the other hand, surface leakages, such as resulting from operator human error or equipment mal-functioning, may have an immediate impact in the health and safety of the operators and other CCS unit staff and also on the vegetation and other natural resources in the region of influence. In this case, the emergency situation, and the correspondent required plan of action for its remediation, is not very different from other types of industries. CO2 isn’t a combustive or an inflammable agent, the risks of a rising concentration result from its toxicity. Typical open air concentrations of CO2 vary oscillate from 0.03% to 0.04%, and indoor levels may reach 0.06%, in poor ventilated spaces. Toxicity of CO2 is, usually, considered to happen from concentrations rising from 5% and above and irreversible health effects are reported to occur at very high levels of CO2, above 6% and for an exposure time of several (15 – 20 minutes).
References
Boden, T., Marland, G. and Andres, B., 2012. Global CO2 Emissions from Fossil-Fuel Burning, Cement Manufacture, and Gas Flaring: 1751-2008 Carbon Dioxide Information Analysis Center, Oak Ridge National Laboratory.
DIRECTIVE 85/337/EEC OF THE EUROPEAN COUNCIL of 27 June 1985
DIRECTIVE 2009/31/EC OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL of 23 April 2009
DIRECTIVE 2011/92/EU OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL of 13 December 2011
EIA - Energy Information Administration, 2011. International Energy Outlook 2011. DOE/EIA-0484(2011), DOE/EIA, Washington, DC.
European Commission and Directorate-General for Energy, 2011. Energy 2020 - a strategy for competitive, sustainable and secure energy. Publications Office of the European Union, Luxemburg, pp. 28.
IEA - International Energy Agency, 2011. World Energy Outlook 2011, OECD / IEA - International Energy Agency, Energy Statistics Division, Paris, France.
1

