Abstract

Renewable energy Potentials in Nigeria

Nigeria is an energy resource rich country, endowed with abundant of renewable energy (RE) resources, which provides her with immense capacity to develop an effective national energy plan. However, Nigeria is yet to exploit these huge available energy potentials with less environmental and climatic challenges. On the contrary, the National energy supply is at present almost entirely dependent on fossil fuels and firewood. These two are being depleted due to failure to harness other energy resources. Substantial progress has taken place in the use of the major rivers in Nigeria and their tributaries to provide hydropower for the country. The total technically exploitable hydropower potential based on the country’s river system is conservatively estimated to be about 10,000 MW of which only 19% is being tapped or developed. Currently, solar, wind, biomass, etc are in abundance all year round in Nigeria and largely untapped. The ability of an energy source to be renewed also implies that its harvesting, conversion and use occur in a sustainable manner that will avoid any negative impacts on the people and natural environment. Renewable energy (RE) reality in Nigeria will be dependent on adequate government policy, financial and technical capability and public acceptance for their installation. This paper highlights current sources and utilization of renewable energy in the country as well as the challenges and way forward in Nigeria.

- Introduction

Nigeria is an energy resource rich country, endowed with abundant of renewable and non-renewable energy resources. However, the National energy supply is dependent on fossil fuels and firewood. Fossil fuels made up 94% of exports from Nigeria to the EU in 2006; only a small fraction of this is available for domestic use. The power utilities in Nigeria have failed to provide adequate levels of electricity services to the majority of the region's population. Only about 40% of households in Nigeria are connected to the national electricity grid. Provision of electricity is largely supplemented by private producer or use of individual electricity generators powered with fossil fuel for the privileged urban middle and upper income groups as well as the formal commercial and industrial sub-sector. Over 90% businesses have private generators in Nigeria.

It is obvious that depending mainly on fossil fuel (petroleum) is not enough to meet the energy needs of the country. There are recent interest in renewable energy development and dissemination in Nigeria. This is driven by, among others, the recent increase in oil prices. The government had made effort in her several power reform programmes and policies. However, there are hindrances, mainly due to the technical and financial barriers, that need to be overcome for this to be a reality.

Renewable energy (RE) resources abound in Nigeria but have not been fully exploited. In this presentation we will examine the state of energy production and utilization; discuss the potentials for renewable energy and major obstacles militating against their developments. The paper will also look at the progress made by Government to remove erstwhile bureaucratic bottlenecks in the sector and consequently attract private sectors to participate.

2. 1. Energy situation in Nigeria: Background

The Electricity generation began in Nigeria in 1896 and the first thermal power station was built in 1920. By the Act of Parliament in 1951, Electricity Corporation of Nigeria (ECN) was established as a central body responsible for electricity supply. While In 1962, Niger Dams Authority (NDA) had a mandate to develop hydro power stations. The first hydro power station Kainji was built in 1968 which is a large centrally located power plant with grid extension (132KV line) to other locations. ECN and NDA were merged in 1972 to form the Nigeria Electric Power Authority (NEPA) by virtue of the NEPA Act. NEPA had monopoly of generation, transmission and distribution of electricity in the country. From 1968 to 1991, the installed capacity for electricity generation in Nigeria increased by a factor of 6 to stand at 5881.6 MW. No further addition to generating capacity was embarked upon by the government from 1990 to 1999.  The last transmission line in the country was built in 1987 while Shiroro Hydro Power Plant was inaugurated in 1990 with an installed generating capacity of 600MW.

Thus, in 2001, the government started off with reforms, terminating the monopoly status of NEPA and inviting private sector participation in the electricity sector. This reform enabled the Bureau of Public Enterprises to inaugurate the Electric Power Reform Implementation Committee (EPIC), which developed the National Electric Power Policy in September 2001.

In a bid to meet the growing demand for electricity in the country and stabilize its generating capability, the Federal government of Nigeria and some state governments decided to implement several independent power projects (IPPs) to boost power supply in the country.  However, the targets for the projects were never met due to problems encountered, such as corruption, bureaucratic bottleneck; inadequate gas supply and obsolete infrastructures (Nnaji et al., 2010). Several of these Independent power Projects are yet to make any impact in terms of improved power supply in the country.

The National Energy Policy (NEP) was approved in 2003 to articulate the sustainable exploitation and utilization of all viable energy resources. The Renewable Energy Master plan (REMP) was put in place to provide a roadmap for the effective implementation of the renewable energy component of the NEP. A draft national energy master plan (NEMP) was developed by the Energy Commission of Nigeria with support of the United Nations Development Programme (UNDP) in November, 2005.

In 2005, the Federal legislature passed the Electric Power Sector Reform Act (EPSR) which unbundle the state owned power entity NEPA to Power Holding company of Nigeria (PHCN) and then to successor generation, transmission and distribution companies. There are 18 new successor companies comprising of six generation companies, one transmission company and 11 distribution companies. From 2005 to present, there are several upgrades of installations and several agreements signed on electricity projects which are yet to be felt by the population (CREDC, 2007).

2.2. Present energy situation

In April 12, 2011, a liquidation committee - the Nigeria Bulk Electricity Trading Plc (NBET) and Nigerian Electricity Liability Management Company (NELMCO), were established to seamlessly wind down the operations of PHCN and enter into multiple standardized Power Purchase Agreements (PPAs) with various Independent Power Producers (IPPs). The present Minister of Power has signed Memorandum of Understanding (MoU) with General Electricity in London on 18th March 2012 for the construction of “series of power plants” in the country.

Commercial electricity generation in Nigeria currently comes from 7 power stations and various Independent Power Projects springing up around the country. Thus, the current nation’s available electricity generating capacity is about 3,920MW with per capita power capacity of 28.57 Watts and this is grossly inadequate even for domestic consumption (Ibidapo-Obe and Ajibola, 2011). For Nigeria to meet up its energy needs, it requires per capital power capacity of 1000 Watts per person or power generating/handling capacity of 140,000 MW as against the current capacity of 3,920 MW. Consequently, availability of power in the country varied from about 27% to 60% of installed capacity, while transmission and distribution losses accounted for about 28% of the electricity generated in the country (Omokaro, 2008).

The energy utilization pattern in Nigeria can be grouped into industry, transport, commercial, household and agricultural sectors. However, the household sector presently dominated energy consumption with activities such as cooking (91%), lighting (6%) and operation of electrical appliances (3%). The transport sector is another major consumer of oil. Despite Nigeria has vast oil and gas reserves; small amount is used by the country. The country imports more than 70 percent of domestic fuel requirements because none of the four refineries have functioned efficiently. The high oil import bill exposes Nigeria’s energy sector to the external energy price shocks. Nigeria has the 9th largest natural gas reserve in the world and exports large quantities of liquefied natural gas (LNG) to other countries, but her gas-dominated electricity grid still experiences frequent collapse due to inadequate gas supply and obsolete infrastructures. Nigeria flares 75% of its natural gas for lack of processing facilities and that amounts to 12.5% of all globally flared gas (CREDC, 2007).

For Nigeria to meet up with its energy needs, it must look for alternative energy source. While it is recognized that RE cannot solve all of Nigeria’s energy problems, RE technology is still seen as having a significant unexploited potential to enable the countries to meet their growing energy requirements. If RE is properly harnessed, it could meet a significant proportion of energy demand with less deteriorating effects on the environment.

3. Sources of Renewable energy in Nigeria

The energy consumption mix in Nigeria is presently dominated by oil (58%), followed by natural gas (34%) and hydro electricity (8%).  Coal, Nuclear, geothermal, wind and solar energy are currently not part of Nigeria’s energy mix, as they have either been neglected, not discovered or are currently at their early stage of development (Omokaro, 2008).

3.1. Hydro Energy

The country is reasonably endowed with large rivers and some few natural falls. Small rivers and streams also exist within the present split of the country into eleven River Basin Authorities, some of which maintain minimum discharge all the year round. Hydropower currently accounts for about 29% of the total electrical power supply. The first hydropower supply station in Nigeria is at Kainji on the river Niger where the installed capacity is 836MW with provisions for expansion to 1156 MW.  In a study carried out in twelve states and four (4) river basins, over 278 unexploited small hydropower (SHP) sites with total potentials of 734.3 MW were identified (Aliyu and Elegba, 1990). However, SHP potential sites exist in virtually all parts of Nigeria with an estimated total capacity of 3,500 MW. They indicate that Nigeria possesses potential renewable source of energy along her numerous river systems. A private company, the Nigerian Electricity Supply Company (NESCO) and the government have installed eight (8) SHP stations with aggregate capacity of 37.0 MW in Nigeria. Most of these stations are found around Jos at Kwall and Kurra Falls. Pre-feasibility studies and reports had already been prepared for 12 identified sites and are awaiting investments. Further to preliminary selection of the possible sites, socio-economic and load surveys were carried out in the beneficiary communities with assistance from ECN and the respective River Basin Development Authorities.

The total technically exploitable hydropower potential based on the country’s river system is conservatively estimated to be about 11,000 MW of which only 19% is currently being tapped or developed (Okafor and Uzuegbu 2010). These rivers, waterfalls and streams with high potentials for Hydropower, if properly harnessed will lead to decentralized use and provide the most affordable and accessible option to off-grid electricity services.

Disadvantages of hydropower projects in Nigeria:

- Hydropower projects in the Nigeria are associated with huge loans that lead to very high external debt levels and are plagued with allegations of corruption.

- Hydropower development is affected by drought and silting of dams reduces the amount of electricity that can be generated over time.

- Building large dams and reservoirs often harm local ecosystems, involve displacing people and wildlife, and scatters human communities.

3.2. Solar Energy - Nigeria lies within a high sunshine belt and thus has enormous solar energy potentials. Solar radiation is fairly well distributed with average solar radiation of about 19.8 MJm –2 day-1 and average sunshine hours of 6hrs per day. If solar collectors or modules were used to cover 1% of Nigeria’s land area of 923,773km2, it is possible to generate 1850 x103 GWh of solar electricity per year; this is over one hundred times the current grid electricity consumption level in the country (Uzoma et al., 2011).

Solar energy technologies are divided into two broad groups namely solar-thermal and solar photovoltaic (PV). Several pilot projects, surveys and studies have been undertaken by the Sokoto Energy Research Center (SERC) and the National Center for Energy Research and Development (NCERD) under the supervision of the ECN. Several PV-water pumping, electrification, and solar-thermal installations have been put in place. Such Solar thermal applications include solar cooking, solar crop drying, solar incubators and solar chick brooding. Other areas of application of solar electricity include low and medium power application such as: water pumping, village electrification, rural clinic and schools power supply, vaccine refrigeration, traffic lighting and lighting of road signs.

Disadvantages

High initial capital cost, lack of technical knowhow and low level of public acceptance.

3.3. Wind Energy -Wind energy is available at annual average speeds of about 2.0 m/s at the coastal region and 4.0 m/s at the far northern region of the country. Assuming there is an air density of 1.1 kg/m3, the wind energy intensity perpendicular to the wind direction ranges between 4.4 W/ m2 at the coastal areas and 35.2 W/ m2 at the far northern region.

At present, the share of wind energy in the national energy consumption has remained on the lower end with no commercial wind power plants connected to the national grid, Only a few number of stand-alone wind power plants have been installed in the early 1960s in 5 northern states mainly to power water pumps. A 5 kW wind electricity conversion system for village electrification has been installed at Sayyan Gidan Gada, in Sokoto State (Uzoma et al., 2011). In recent times, numerous studies have been carried out to assess the wind speed characteristics and associated wind energy potentials in different locations in Nigeria. Promising attempts are being made in Sokoto Energy Research Centre (SERC) and Abubakar Tafawa Balewa University, Bauchi, to develop capability for the production of wind energy technologies.

Disadvantages

High initial cost of insulation, weak dissemination strategies, lack of skilled manpower and low level of public acceptance

3.4. Biomass - The biomass resources of Nigeria can be identified as crops, wood, forage grasses and shrubs, animal wastes and waste arising from forestry, agriculture, municipal and industrial activities, as well as, aquatic biomass. Crops such Sweet sorghum, maize, Sugarcane were the most promising feedstock for biofuel production. Plant biomass can be utilized as fuel for small-scale industries. It could also be fermented by anaerobic bacteria to produce a very versatile and cheap fuel gas i.e. biogases (Nnaji et al., 2010). Biogas production from agricultural residues, industrial, and municipal waste does not compete for land, water and fertilizers with food crops like is the case with bioethanol and biodiesel production. In Nigeria, identified feedstock substrates for an economically feasible biogas production include water lettuce, water hyacinth, dung, cassava leaves and processing waste, urban refuse, solid (including industrial) waste, agricultural residues and sewage (Akinbami, 2001). It has been estimated that Nigeria produces about 227,500 tons of fresh animal waste daily. Since 1 kg of fresh animal waste produces about 0.03 m3 biogas, then Nigeria can potentially produce about 6.8 million m3 of biogas every day from animal waste only. Although biogas technology is not common in Nigeria, various research works on the science, technology and policy aspects of biogas production has been carried by various scientists in the country. Some significant research has been done on reactor design by some Nigerian scientists that would lead to process optimization in the development of anaerobic digesters (Akinbami, 2001).

Charcoal - Is an important household fuel and to a lesser extent, industrial fuel. It is mainly used in the urban areas where its ease of storage, high-energy content and lower levels of smoke emissions, make it more attractive than wood fuel. It is the primary fuel for the urban poor

Saw Dust - Sawdust and wood wastes are other important biomass resources associated with the lumber industry. Small particle biomass stoves already exist for burning sawdust and wood shaving. Biomass utilization as energy resources is currently limited to thermal application as fuel for cooking and crop drying.

Disadvantages

- Increased biofuel production may drive up food costs and even if non-food crops are used, the carbon footprint of fuel production can be significant if intact plant communities are cleared for plant production. There can also competition for land and resources.

- High initial capital costs; weak dissemination strategies and lack of skilled manpower.

Other Resources

Presently, the potentials of some resources like geothermal, nuclear energy, waves, tidal and ocean thermal gradient still remain unqualified (Nnaji et al., 2010).

Challenges

Despite the recognition that RE are important sources of energy in Nigeria, it has attracted neither the requisite level of investment nor tangible policy commitment. Although the energy reforms and national resources allocated to developing and disseminating RE in the last decades may appear substantial, but the total amount is still insignificant compared to that allocated to the conventional energy sector. The success of RE technologies has been limited by a combination of factors which include: poor institutional framework and infrastructure; inadequate policy implementation; lack of co-ordination and linkage in RE programmes; pricing distortions which have placed renewable energy at a disadvantage; high initial capital costs; weak dissemination strategies; lack of skilled manpower; poor baseline information; and, weak maintenance service and infrastructure

Way forward

Though initial cost of installation of RE devices is high but the life cost is competitive with other energy sources. Government should ensure that fiscal and non-fiscal incentives are put in place for private investors that are willing to invest. The development of RE services is often linked to many other sectors such as agriculture, small scale industrial enterprises and poverty alleviation, thus RE related projects have a greater likelihood of success if implemented in line with activities in these sectors to ensure sufficient demand for the energy services providers.

Experience has shown that most renewable energy technologies (especially those that can be locally manufactured) require subsidies only in the initial stages, and can become financially sustainable in the short to medium term after a certain level of technology dissemination has been attained. After attaining a dissemination of certain critical mass number of units and assemblers / manufacturers, the renewable energy industry can become self-sustaining and subsidies can be gradually withdrawn without any adverse effects on continued dissemination of renewable energy technologies.

Nigeria now has a published energy policy and the policy did emphasize the development RE. However, integrated policy and vigorous implementation strategy is needed to facilitate rapid diffusion of RE in the nation’s energy mix.

The current flow of information on RE technologies is inadequate, demonstration projects on various energy forms should be established widely so that the performance and efficiency with which services are delivered be exhibited. This will sensitize the public as well as assist in the creation of markets for RE system.

The need for capacity building both at institutional and personnel level for acquiring technical, organizational, and managerial skills required for increased development of renewable energy should be identified. Activities such as entrepreneurship and managerial skills development training programmes and technical courses in RE technologies with a view of developing Energy Service Companies for providing services to rural areas need to be introduced. The existing Research and Development centers and technology development institutions should be adequately strengthened to support the shift towards increased renewable energy utilization.

In conclusion, Nigeria is endowed with abundance of RE resources and these resources can be harnessed to stimulate her economic growth and social development.

References

Akinbami, J.F.K. (2001). Renewable Energy Resources and Technologies in Nigeria: Present Situation, Future Prospects and Policy Framework. Mitigation and Adaptation Strategies for Global Change 6: 155-188,. Kluwer Academic Publishers. Netherlands.

Aliyu, U.O. and Elegba, S. B. (1990). Prospects for Small Hydropower Development for Rural Applications in Nigeria. Nigerian Journal of Renewable Energy, 1, 74-86.

CREDC, 2007.  Promoting renewable energy and energy efficiency in Nigeria. The Report of a one-day Conference.  www.credcentre.org

Ibidapo-Obe O. and O.O.E. Ajibola (2011). Towards a renewable energy development for rural Power sufficiency. Proceedings of International Conference on Innovations in Engineering and Technology .

Nnaji, C.E.; Uzoma, C.C. and  Chukwu, J.O  (2010). The role of renewable energy resources in poverty alleviation and sustainable Development in Nigeria. Continental J. Social Sciences 3: 31 - 37, 2010 ISSN: 2141 – 4265. http://www.wiloludjournal.com

Okafor E.N.C. and Joe-Uzuegbu  (2010). Challenges to development of renewable energy for electricity power sector in Nigeria. International journal of academic research, 2:2   211- 216

Omokaro O.  (2008). Energy Development in a Fossil Fuel Economy: The Nigerian Experience. The report of a National Dialogue to Promote Renewable Energy and Energy Efficiency in Nigeria. 55p.

Uzoma, C. C. ; Nnaji, C. E; Ibeto, C.N.; Okpara, C.G.; Nwoke, O.O.; Obi, I.O.; Unachukwu, G. O and Oparaku, O. U.(2011). Renewable Energy Penetration in Nigeria: A Study of The South-East Zone. Continental J. Environmental Sciences 5 (1): 1 - 5, ISSN: 2141 - 4084 http://www.wiloludiournal.com