Wind power plants: effects and environmental impacts in the northeast coast of México

Summary

The northeast coast of Mexico (Tamaulipas State) has ideal conditions, both physical and land use, to build and install wind-electric plants. However, these types of facilities have a number of environmental impacts that should be identified and studied prior to implementation. Three environmental impact assessments were performed for this area. The results of the studies show a minimum number of environmental impacts, most of them with a low significance, which indicate that the use of wind energy is one the main solutions to support the reduction of climate change effects.

Introduction

The energy generation by wind power plants has a lot of benefits: it does not produce toxic gases, not contributes to the climate change or to acid rain, does not generate hazardous wastes, but some wasted oils, and has high energy efficiency given that each Kw/h of electricity generated from wind in place of carbon avoids the generation of 0,60 Kg of CO2, 1,33 gr of SO2, and 1,67 gr of NOx inter alia

The meaning of this industry has been raising up over the last 15 years. According to the energy Secretariat, Mexico (2007), the global installed wind turbine capacity in the world has been growing so quickly between 1996 and 2006 (up to 11 times), from 6,100 MW installed to 74,223 MW. Thus this generated capacity at the global level, first place is Germany with the 27.8% of the total (20,622 MW), in second Spain with 15.6 (11,615 MW), then USA 15.6% % (11,603 MW), India with 8.4% (6,270 MW), Denmark with 4.2% (3,136 MW) and China with 3.5% (2,604 MW), while Mexico stands at position 28 with 0.1% (88 MW). )
.

 Also, the global wind energy sector has already developed a major technological effort, which already sets production costs values near to be a real solution in the short term for electricity generation in Mexico, as occurs in European countries.

Within the document “Global vision of the wind power energy”, by Green Peace organization and the Global Council for Wind Power Energy
, establishes as a target aims to the 2025 year that more of the third part of the world energy consume will be provide by wind power energy. In this frame work Mexico has begun an ambitious program to build wind power plants, studying two main zones at the northeast cost (Tamaulipas State) and Tehuantepec Itsmo (Oaxaca state). This document is a brief with the main founds in impact assessment of three different studies held in the north cost of the Mexican Gulf, including the municipals of Reynosa, San Fernando y Matamoros. near by the US border, all this zone inside the Hydrological Burgos Basin.
Physical and biological zone aspects.
The Burgos basin area comprises 208,586 km2 including totally or partially the States of Coahuila, Nuevo León, and Tamaulipas. In this last state the projects will be realize in the municipalities of San Fernando, Reynosa and Matamoros with a population over 1.1 millions of persons on 2010.
The study area is a space unit with relative uniformity in its main environmental components: soil, surface hydrology (absence of a clear pattern) and biotic cover of flora. It is therefore a anthropogenic macro ecosystem, consisting of an area that integrates a coastal plain of little (no more than 10 M) elevation, with few areas of flooding, 

With reference to the eco regions located at the northeast coast of Mexico, where the projects will be held, can be mention the protected natural area called Laguna Madre and other one named Rio Bravo Delta, both of them important because of their animal richness, mainly birds.
Climate in the Burgos basin is predominantly dry, with an average temperature of 20 ° C, precipitation is scarce and irregular, recording an annual average of 480 mm, 38% lower than the national annual precipitation average. The projects area is located in the climatic region of Northwest Mexico, itself characterized by north winds in winter, winds and cyclones in the summer and areas of high tropical pressure of intermediate pluvial regime. The area presents a climate according to Köppen type (A) Cx'(e)
 indicates a semi, subhumid climate with little rainfall year-round, the summer is hot and extreme 

In this area the main natural renewable resource is the wind
. The process of wind generation starts with cold fronts aimed to the South and the route of these wind currents is constrained by topographical accidents. When these cold fronts occur in the Gulf of Mexico, its influence in the environmental system area is evident with sustained speeds of 20 to 30 m/s (almost 100 km/h). These average records, determining the dominance of the distribution of wind speed, identifying the dominant speed is 5 to 6 m/s, which is adequate to the project needs. 
This vector of magnitude (speed) should be complemented with the predominant wind direction, combination generically represented by figure known as "rose of the winds" which allows you to simultaneously represent the relationship that exists between characteristics which make it up. The annual chart for the proposed locations for the projects integrated from the hourly values of wind speed and direction, showed that the frequency of hourly values with winds from the South-southeast (SSE) is the highest in all the intervals of speeds, with a total of 56% of records, also occur east south easterly winds (ESE) with the m/s 5-10 dominance over 35% of the records. It is important to indicate that there are not calm periods and conversely detect records of 15-20 m/s (gusts) speeds. 

The wind measurements in the years 2005 and 2006, carried out by antennas owned by the Institute of electrical research, shown in the months with increased availability of wind (March), average speeds fluctuate between 3 and the 13 m/sec, while maintaining the most days above 6 m/sec, with maximum gusts average of 18.5 m/sec, with an intensity of turbulence on average of 1.10.
 It is important to note that the maximum speed of 6 m/sec was 118 hours. The dominant wind comes from the Southeast, though in a few months like December receive important Northwest gusts.

In general terms the areas proposed for projects are highly impacted by human activities and, but the cultivation of sorghum, are basically formed by two types of plant association: herbaceous halophilic vegetation [3]and thorny scrub (Rzedowski 1978)
. The field work performed results in a low incidence of the presence of wild vegetation, almost all individuals identified and observed correspond to copies generically known as "weeds"]mainly type secondary, resistant to human activities, with herbaceous Halophyte species and vegetation of thorny scrub. In the literature, 60 species of thorny bushes are registered, of which 13 species were observed in the area of projects. A high degree of disturbance of ecosystem both in the literature consulted and the field comments is in evidence. 
 
On the other hand are reported 23 species of halophilic vegetation, of which only 6 were observed in the projects area. There is a great diversity of species, but are widely distributed throughout the area of the projects polygons. The representative species of halophilic vegetation were: Salicornia SP., Borrichia frutescens, Batis maritima, Suaeda torreyana, Sessuvim portulacastru and Monanthochloe littoralis. For the thorny bushes we could observe: mesquite (Prosopis glandulosa) and Ebanos (Pithecellobium ebony), in addition to Acanthocereus tetragonus, Condalia SP., Distichlis spicata, Echinocereus sp., Ferocactus sp., Mamillaria sp., Monanthochloe littoralis, Opuntia leptocaulis, Opuntia SP., Yucca filifera and Acacia farnesiana. 
There was identified populations of huizaches and several other species remnants of what in the past was a scrub ecosystem, its conservation status is very poor with several indicator species of disturbance, however these patches are the only representatives of the flora that existed in this area in the Burgos basin. Were found no species introduced within the projects polygons. In addition, it should be noted the presence of specimens isolated from mesquite promontories of low elevation and the areas of drains of projects; However, these copies have dwarfism due to superficial saline lítica phase which limits their development.
In the Laguna Madre and Río Bravo Delta regions share the space more than 450 species of birds, aquatic, terrestrial and semi, that makes the 15% of the total migratory birds which each year arrive to Mexico from Canada and the United States of America, looking for shelter, feeding and nesting on winter, furthermore of 144 permanent species of resident birds, of which 2.7% are endemic in Mexico. Outstanding the duck red head (Aythya americana), of which records in the region are up to 36% of the world's population,  and in the zone exists the only breeding colony of White Pelican (Pelecanus erythrorhynchos) in coastal environments of Mexico, as well as 100,000 shorebirds that represent the highest concentration in the country, as well as ducks and Canadian goose which reach their southern end of distribution. Peterson, T.R. 2002)

One of the biological main aspects of the region, is to serve as natural corridor for migratory water birds, that results in the high percentage (59%) of this group with respect of the avifauna records in the area, and to the values of the resident birds (38%); that are flying in the Gulf, that makes this zone one the the most important of the continent for prey bird. 
Results of studies in impact assessment terms
It is important to note that it was detected in the analysis carried out all of the impacts, the implementation of these projects will produce on average close to 90 impacts in each project, of which 67 are expected of low magnitude, 20 media significance and 3 of high significance, primarily related to the impact that will have on wildlife avian and processes of mobility of species the operation of wind turbines. 
It is obvious that the operation phase generates the greatest number of potential significant impacts, which could affect biotic resources (birds) in their way through this geographical space, some of which are under a regime of protection, so it is clear that the result of this negative effect can translate into the modification of the behavior patterns of these vertebrates. While the rest of impacts are refer to the use of the soil, with its effects on the processes of the inert environment, soil and given that these actions imply a major alteration to the current environment.
Under this framework and within the expected impacts is possible that a negative disorder of the mobility of the terrestrial species, by disassembled occupancy as a result of the presence of people and machinery; While it's a reversible effect which will only impact on the affected area, its cumulative effect caused by agricultural operations to increase synergies which translates to scare off wildlife.
It is estimated that the movement produced by the excavations generates visual pollution. Although the placement of the ground product of excavations will have negative effects, this impact will be temporary 
On the other hand, foundations of the towers for wind turbines, are conducive to the erosion of the soil, that the modification of the natural vegetation, even in the case of agricultural land, will have negative effects on the characteristics of the soil, to lose some of its nutrients. The establishment of foundations for concrete of permanent character in the sites of placement of wind turbines will also affect the vertical drainage of the soil. Although the vegetation is low biological value, being of a recoverable component, the effect of placing wind turbines reaches significance given the general disruption that is recorded in the area
Wind turbines are high structures that need to operate in an exposed site, enabling them to make the best use of the prevailing wind. This means that they will be visible from relatively distant areas if we take into account the topography of the area. If this has a detrimental effect or not, is a matter highly it subjective. While some people expresses concern about the adverse effect that wind turbines have on the beauty of the landscape, others view as gracefully and elegant or as symbols of a better and cleaner future
It is important to mention that the aerodynamic design of the wind turbines will substantially reduce the noise levels, but still expected impacts by activity, which can have negative effects on the patterns of behaviour of the species.
Birds can be affected by the development of wind energy, due to losses in the Habitat, disturbance in the areas of food and breeding and for injuries or deaths caused by the blades of the rotor in motion the presence of wind turbines may affect negatively on the mobility of species, particularly birds. Although the rotation between 6 and 16 rpm of the blades allows foresee that this negative effect will be the simple fact that collisions of them, especially at night can register of accidental character, prints a character of significance to the impact if it is the fact that the project area is located to one side of the natural area protected Laguna Madre and Río Bravo Delta and is located in part of the migratory route of some species of birds, of which a part. they are under some protection status, so there may be some negative impact on the number of individuals of migratory species
The vegetation lost, as it has happened in most of the wind power facilities in many parts of the world, will lead to alterations in the behavior patterns of the fauna in the area, mainly birds which will gradually modifying its transit routes, to the extent that their own instinctive ability go forcing them to this
In summary: 14 identified significant impacts the only 4 affect environmental reporting considerations of the biotic resources of the area without reaching levels that endanger the status and conservation of them and that could impact in changing their behavior patterns.
Conclusions
Wind turbines installation in this area is environmentally viable because not promotes or increase the ecosystem fragmentation and neither it does not exceed the carrying capacity of the air basin in this area, given that the natural resource that will be used as raw material is air and no way the project will be above its rate of renewal.
Wind Power projects are needed to combat the global warming phenomenon. In this sense, the technological development of wind turbines allows less use of oils and a lower rotational speed of blades, that prevents birds collisions.  
The installation of wind turbines does not cause significant changes in the trend of environmental development of negative character that occurs in the environmental system in this area and even in the case of a project of occupation, the space that will affect, in relation to the size of the area of the development is minimal (just the 0.97% of the total projects surface).
The projects even though are located in the area adjacent to the protected natural area of Laguna Madre and Río Bravo Delta, not generate impacts important or additional to the presence of migratory birds in the area, even though this aspect should be studied in greater depth. One of the main recommendations of the impact assessment studies goes for make a deeply research in this matter.
It is important to mention the social benefits which will take the project to promote the use of clean alternative to oil for the generation of electricity, which will result in a reduction in the emission of greenhouse gases. Also its expected to have a positive impact on the area population through the jobs creation. 
The land ownership in this zone, most of them in private hands, makes easier  to promote and build this kind of projects, which does not occur in the region of the Mexican isthmus (Oaxaca state) in which the majority of the land is communal. 

As a general conclusion it will be note that these kinds of projects do not make bigger affections on a fragmenting ecosystem, but they could bring some damages in the wild life mainly birds, that need to be studied in a long term analysis.

One limit to the private energy production in México, it is referred to the local legal system that does not allow the electric power sale by individuals, which can be done only through the Government enterprise of electricity. 

 References
� Secretaría de Energía; “Prospectiva del Sector Eléctrico 2007-2016”; México 2007


� Greenpeace Internacional, GWEC; Perspectivas Globales de la Energía Eólica 2006; España 2006.


� García, E. 1988. “Modificaciones al sistema de clasificación climática de Köppen para adaptarlo a las condiciones de la República Mexicana”. 4a. ed. Offset Larios. UNAM, México, 271 pp.


� Schwartz Marc & Elliott Dennis, “Mexico, Wind Resources Assessment Project”; National Renewable Energy laboratory; USA 1995


� Information by Project ownwers


[�] Rzedowski Jersy; Vegetación de México; Comisión Nacional para el Conocimiento y Uso de la Biodiversidad; 1ª edición electrónica 2005 � HYPERLINK "http://www.conabio.gob.mx/institucion/centrodoc/doctos/librosdigitales/VegetaciondeMexico/Portadaypaglegales.pdf" �http://www.conabio.gob.mx/institucion/centrodoc/doctos/librosdigitales/VegetaciondeMexico/Portadaypaglegales.pdf� consultada el 20 de octubre de 2009


� Instituto Nacional de Ecología: “Ordenamiento Territorial de la Cuenca de Burgos”; México 2007


� Peterson, T.R. 2002. “Birds of Eastern and Central America”; Fifth ed. Peterson Fiel Guide. USA.427p.





